PART 1:

Production of glucose out of starch/cellulose                                                                                         – increasing of glucose concentration

Cut the material in small pieces. The smaller they are, the better.

Depending on the group:

- Add in a beaker

- Hay (app. 8g)

- Straw (app. 8g)

- Starch (app. 8g)

- Overcooked potatoes (app. 8g)

- Paper towels ( app. 8g)

- Sawdust (app. 150mL)

- Add Water up to the 250ml mark. Attention Group Starch: Water must be boiling!

- Stir.

Groups Starch/Potato:

- Spit in a small beaker

- Add 2mL of spittle using a plastic pipette to the mixture

(Starch: Solution must be cooled down again afterwards)

Other groups:

- Open 5 capsules of Oligase600

- Add it to the mixture

- Stir.

(-Right afterwards-):

- Do the first measurement of glucose-concentration. (Concentration at t0)

- Stir the mixture (before you start each new measurement of glucose concentration)

-Measuring of glucose-concentration

- Pipette 1,5mL of solution with a plastic pipette in 2 tubes

- Centrifuge

Cuvette P:

- Take 5x20yL (100yL) of the liquid with a micro pipette

- Put it in the cuvette, label the cuvette

- Add 1000yL of reagent

- Mix by pumping up and down with the micropipette

Cuvette blank:

- Take 5x20yL (100yL) of the liquid with a micro pipette

- Put it in the cuvette

- Add 1000yL of distilled water

- Mix by pumping up and down with the micropipette

- Slightly mix and wait for 15 min

- Measure in the photometer with a wavelength of 340nm

- Calculate the glucose concentration:

c= E-Econtrol*11*180,2*Dε * d * 1000

Or simplyfied

c=0,319*E-Econtrol*D

| E | Extinction of the probe (Tube P) |
| --- | --- |
| Econtrol | # E of Tube 0 + Echemicals Echemicals are the one, already measured. (See at the blackboard) |
| 11 | Dilution-factor due to 100yL of volume of the probe + 1000yL reagent |
| 180,2 | Molecular mass of glucose |
| ε | Extinction coefficient for the reactant |
| d | Length of cuvette (1cm) |
| 0,319 | In this factor ε, d, the molecular mass, our dilution factor 11 is summarised |
| D | Dilution factor if necessary |
| c | Concentration of glucose [mg/mL) |

- Create a table and graph with the glucose concentrations:

| Glucose measurement | E | Econtrol | D | c |
| --- | --- | --- | --- | --- |
| T0 |  |  |  |  |

PART 2:

Fermentation of glucose to ethanol

– decreasing of glucose concentration

- Stir your solution and measure the glucose concentration

- Take a dilution of 1:1!!!

- Add 10mL of yeast solution

- Add 1 mL of the solution of nourishing salts

- Stir

- Measure the glucose concentration

- Add the measured values to the graph or table